Town of Old Lyme Water Pollution Control Authority

Frequently Asked Questions (and Answers) – update 06 DEC 2019

WPCA welcomes your questions and comments, we will make our best effort to address your questions and post updates periodically on the Town’s website. Please send your inquiries to Chairwpca@oldlyme-ct.gov

Additional Information on WPCA and the Sewer Project is available at: https://www.oldlyme-ct.gov/water-pollution-control-authority/pages/sewer-project

- Town of Old Lyme WPCA (WPCA)

Old Lyme Water Pollution Control Authority (WPCA) has been working for several years on the planning of this project, with the success of the referendum, WPCA will continue its coordination with stakeholders: Sound View Project Area residents, Chartered Beach WPCAs, Board of Selectmen, Broad of Finance, Connecticut Department of Energy and Environmental Protection (CT-DEEP), and neighboring municipalities to progress the project to completion from system design, State approval, Request for Proposals, contractor selection, work progress management, and operations and management.  Approval of the referendum is a crucial milestone to comply with an administrative order issued by the Connecticut Department of Energy and Environmental Protection (CT-DEEP) to install sewer in the project area.

  - How many people from Sound View are on the WPCA?  Currently there are two WPCA members (out of 9) who own properties in Sound View.

  - How are members of the WPCA compensated?  Members of the WPCA volunteer their service to the town, they receive neither monetary nor in-kind compensations.

- Town of Old Lyme (Town)

The Town of Old Lyme has full municipal powers, they include corporate powers, eminent domain, ability to levy taxes, public services, public works, regulatory powers, environmental protection, and economic development.  The Town manages town resources to serve its residents.  It is also required to comply with state statues and lawful orders.

  - Will bonding the sewer project make it problematic for the town to bond for anything else in the future?  No, the town has an excellent credit rating.

- Chartered Beach Associations

Chartered beaches have quasi-government status, they have their own WPCAs and are responsible for the waste water management of the dwellings within their boundaries.

  - What is the relationship between the Town of Old Lyme and the Chartered Beach Associations?  The three chartered beach association working in conjunction with the Town of Old Lyme are Old Lyme Shores, Old Colony, and Miami Beach.  The associations have negotiated Inter-Municipal Agreements (IMAs) with East Lyme (which includes infrastructure in Waterford) and New London; OL-WPCA is negotiating with the beach associations to join the IMAs such that the cost to both entities will be reduced.

  - How does this sewer project tie into the Point O’ Woods’ existing sewer?  Point O’ Woods has its own sewer system independent of the current effort.  It effluent is transported via its own forced main to New London via East Lyme and Waterford.

- Connecticut Department of Energy and Environmental Protection (CT-DEEP)

CT-DEEP is the controlling authority for environmental protection.  It has the statuary authority to determine the actions a community must take to address water pollution risks.  CT-DEEP manages the Connecticut Environmental Protection Agency (CEPA) Clean Water Fund (CWF).

  - Does CT-DEEP have the authority to order sewer for municipalities?  Yes, CT-DEEP develops risk mitigation strategy based on multiple factors to set policies for near and far term (probable) water pollution control.  CT-DEEP clarified the definition of water pollution at an information meeting at town hall on 30 OCT 2014, it confirmed “community waste water pollution” problems exist.

  - What is CT-DEEP justification for such a declaration?  The Public Health Code defines the minimum criteria for a subsurface sewage disposal system (septic system) which will protect public health and the environment  Most older systems (especially around lakes or on the shoreline) do not meet the requirements of the current health code.  If the septic systems are not code (B100A) compliant, then public health and the environment may be at risk.  CT Department of Public Health (DPH) recommends, based on Nitrogen analysis, that a minimum lot size of half an acre is necessary for proper nitrogen attenuation for a typical three-bedroom house.  When a significant number of small lots are in a neighborhood, even the health code may be insufficient to protect health and the environment (DPH Circular Letter 2000-01)  When a number of properties with similar lot-size deficiency exists in a neighborhood, “…a community pollution problem exists, or… can reasonably be anticipated in the future…” (CGS 22a-428).

- Impetus for the Sewer Project

- Past WPCA supported a sewer avoidance policy, why can’t it continue to do so?  Several factors prompted revision of this policy.  Since the 1980s, WPCA focused on Sewer Avoidance, that is, taking positive regulatory steps, such as forming a WPCA, setting septic tank pump out requirements, monitoring, and corrective actions to convince CT State Public Health and CT-DEEP that the town did not need centralized waste water collection, treatment, and disposal.  In recent years, CT-DEEP has deemed that sewer avoidance is no longer effective for some areas along the Long Island Sound shoreline, it is working to mitigate water pollution in high risk areas through grants and statue enforcement.

- Is sea level rise the justification for sewer along the coastal regions?  Sea level rise is one of the several contributing factors that CT-DEEP evaluated to determine Sound View to be a high-risk area.  Other environmental factors are listed in item 3 below.

- Why do we need sewer in Sound View?  There are several reasons that sewer avoidance is no longer a viable policy:

  - Aging or non-complaint septic systems.  Note: septic systems in Sound View properties with small lot sizes are grandfathered, they are not considered to be B100A code compliant.

  - Extreme dwelling density (requirements of 20-ft setbacks that are not possible on 40-ft wide lots)

  - Shallow groundwater (leach field under water)

  - Poorly drained soils & soils that rely on tidal movements to drain indicate failed system

  - Notice of public nuisance from the then current town Dept of Health, which is an irreversible legal requirement to do something

  - Administration Order(s) from the State Health Department of Energy and Environmental Protection (CT-DEEP)

- Should additional water testing be performed in Sound View to confirm that there is a pollution risk?  Water testing in Sound View is a settled matter after seven previous studies confirming presence of waste water pollution; the state DEEP has determined the Sound View project area is a community problem and has issued an order to remedy.

- Is the New London Waste Water Treatment Facility in compliance?  New London treats the effluent to levels required by the state before releasing it.  The plant is regularly monitored by CT-DEEP for compliance of its outflow into the Thames River.  New London Waste Water Treatment Facility is accountable to the State of Connecticut to comply with State and Federal Clean Water Act.

- Scope of the Current Sewer Project

  - What is the scope of the Sewer Project?  The Town of Old Lyme’s sewer project includes Sound View and Miscellaneous Area B (north of RT-156).  This project will be planned and executed jointly the Chartered Beach Associations such that we can share common infrastructure (pump station, force main, and Inter-Municipal Agreements).  This coordination results in substantial savings to both entities.

  - Why is Hawks Nest area excluded?  Hawks Nest neighborhood had extensive opposition and suggestion of alternate ground water testing which resulted in the State of CT agreeing to do further evaluation of the needs to sewer this neighborhood. The testing is planned for multiple years to evaluate long term trends.  Hawks Nest is not included in the current scope; CT-DEEP will make the decision whether to compel Hawks Nest to sewer based on the water testing results and other considerations.  The WPCA is considering securing its own expert to evaluate the data as part of its oversight responsibilities.

  - Are Sound View (SV) residents paying for the ground water  testing at Hawks Nest? No, Hawks Nest testing is a separate project paid through Old Lyme WPCA’s budget and a partial CT state clean water fund grant.

  - If Hawks Nest is included to the sewer project later will Sound View costs go up?  No, cost of sewer for Sound View is not affected by the status of Hawks Nest.  If CT-DEEP issues an order to sewer, Hawks Nest will be a separate project with separate funding for assessment, planning, and execution.  If it comes to pass, Hawks Nest will be a project separate from the Sound View project as Hawks Nest was not included in the scope of the approved referendum.

  - Is Hawks Nest excluded due to the tax paying status of the Garvin’s?  No, it is not due to tax paying status but the continued voice of opposition to the WPCA, Old Lyme government and State government was an impetus to collect more data to guide our decision.

  - Why was White Sand excluded from the current project?  The decision was made jointly by the WPCA, Selectman's Office, Old Lyme Board of Finance, and CT-DEEP.  White Sand’s priority was changed formerly by the CT-DEEP from a High to Medium need after a number of variables were considered:

    - Its lower dwelling density

    - Availability of open fields provided an alternate solution to treat effluent locally

    - Hydraulic conductivity and porosity of its soils

    - Ground water depth (multiple houses have full basements in White Sand area which is not possible in Sound View where depth to water is less than a couple of feet), and

    - Increased cost due to the need for a separate pump station and a mile-long forced main to connect to current project area renders the inclusion of White Sands cost prohibited.  CEPA Clean Water Funding stipulates that the most economical water pollution treatment alternative be considered when defining the project scope.

  - Will the planned condos on Hartford Avenue be allowed under the plan?  Yes, this particular property is believed to have existing buildable lot plans that are considered in this project.

  - Will a vacant lot have a sewer assessment? Can one build on the lot?  Vacant lots that are not buildable are not assessed for sewer.  Vacant lots that can be built on without sewers will be allowed to build on with sewers.  Only pre-existing lots with accepted building plans that are already identified can be added to the sewer project.  Clean Water Funds do not allow economic development which is adding new homes to previously non-buildable lots.

- Costs of the Sewer Project

  - What is the cost of the Sound View sewer project?  The estimated cost is $9,500,000, grant from the State Clean Water Fund will defray 25% of that cost; the reduced cost is estimated as $7,443,000.

  - Why is the Sound View sewer referendum a town-wide vote?  A town wide vote is legally required since the town will take on the debt obligation through the issuance of a bond.

  - What is the justification for the whole town not paying for the sewers?  Sound View properties that will be sewered will benefit directly; the property value will increase much in the same way as property improvement.  The Sound View sewer project is not a public works project.  A public works project, by definition, is accessible to and benefits all town residents.  Whereas, the sewer project provides a safe and reliable waste water collection, disposal, and treatment system to the individual property owners of Sound View; the public does not have access to the private homes’ bathrooms.

  - What is the EDU cap?  For this project area and buildings, there is cap of 4 EDUs.  [Note: the benefit assessment formula is being updated to simplify the method and to alleviate extreme cost spread.]

  - Can adjacent small homes be combined to count as a single dwelling?  Individual buildings are treated separately even if there is only one owner or the buildings are on one land parcel. There are many unique situations in this project area which makes this very difficult to find a fair cost recovery method.

  - What is the basis of the annual sewer usage fee?  This fee pays for the operations and maintenance of the system equipment and charges to process the effluent in New London.  The fee is an estimate based on the projected flow and will be adjusted.

  - Does the sewer loan stay with the person or the home?  The loan repayment obligation is associated with the current property owner.

  - Has the WPCA secured the CEPA Clean Water Fund (25% matching) for the Sound View Project?  The CT Clean Water Fund is a revolving fund that is updated every two years, continuing inclusion on the list requires the potential grant seekers to show progress. WPCA has resubmitted a request to CT-DEEP to ensure that our town is on the priority list. CT-DEEP uses this fund as an incentive for the municipalities to move the projects forward, OL WPCA has demonstrated due diligence to progress its sewer project.

- Benefits of the Sewer Project

  - What are the benefits for Sound View residents?  There are several benefits:

    - A more reliable method of waste water treatment, less concern of a septic backup during peak season

    - Reduction of local ground water pollution

    - An investment in the long-term health of our environment

    - Removal of septic tank and leach field enables lawn to be used for other purposes, e.g., parking spaces.

    - Coordinated upgrade of CT Water main lines for safe drinking water and in some cases, higher water pressure.

    - Increased property value due to availability of sewer and water utilities

  - What if the actual property value appreciation is less than the sewer benefit assessment?  The property owner may appeal to the WPCA for relief based on a certified assessment.  WPCA will perform an independent assessment to inform its decision to reassess.

- Sewer Benefit Assessment and Cost Recovery Formula

  - What is the breakdown of the benefit assessment?  [Note: the benefit assessment formula is being updated to alleviate burden on smaller dwellings, to simplify benefit calculation and to reduce extreme cost spread.] There are three basic components, the onetime connection fee, the onetime betterment assessment, and annual operation and maintenance fee. Various methods are used at different towns including everyone pays the same regardless of use, residents pay a percent of property value, or assessments based on potential volume of use. The livable building square footage is the method that is most fair to spread the costs out, this method also includes limits of a minimum of $15k which supports what the minimum costs would be to put in a competitive septic system regardless of house size and maximum of 4 EDUs which is based on the property details in this project. Note, commercial building use also considers other methods based on Department of Health Technical Standards used to estimate flows and equated to typical average flow of the project area. Other towns that send a bill based on use is the annual maintenance fee, not the initial sewer construction costs. This method was not chosen due to the difficulty getting the data, the extreme difficulty and cost to manage such dynamic pricing method.

  - How is the Benefit Assessment determined?  [Note: the benefit assessment formula is being updated to alleviate burden on smaller dwellings, to simplify benefit calculation and to reduce extreme cost spread.]

  - When will the final Benefit Assessment determination be made?  [Note: the benefit assessment formula is being updated to alleviate burden on smaller dwellings, to simplify benefit calculation and to reduce extreme cost spread.]

  - If the costs were shared among the whole town, how much would each household pay?  The whole town will not be required to fund this project.  WPCA and the Town affirm that the properties that will benefit directly should bear the full cost of the project.  This cost recovery is consistent with the practice of other municipalities. Multiple Town agencies strongly believe that levying the cost across all households in the Town of Old Lyme would cause the referendum to fail.  Many residents at the WPCA information meetings suggesting this method also agreed the referendum would fail.  To put forth a referendum that is believed to fail, is inappropriate and irresponsible use of town resources.

  - Will the Chartered Beach Associations use the same method of calculating EDUs that OL WPCA plans to apply to Sound View?  The private beach associations are developing their own method of assessing benefits and determining their EDU factors that best fits their properties.  Sound View is developing an appropriate  method to handle the various types and sizes of properties that the private beach associations do not have.

- Effect of Sewer on Year-Round Zoning

  - Can sewered homes be zoned as year-round?  Year-round conversion is not impacted by sewers. Depending on the house, year-round conversions require year-round potable water and other modifications approved by the town's Zoning Department.

  - Once seasonal water service is solved, are these homes year-round?  Year-round conversion typically requires a number of building modifications that need town Zoning approval to survive winters, in addition to water service.

  - What is the number of part-time or “seasonal” residences?  This is difficult to determine as some residents that can stay year-round don't. It is estimated the number of year-round residents is about 10-20%. Year-round or seasonal status doesn't impact the cost or need to have a system with the capability and capacity to handle peak effluent.

  - Can the charge be prorated for part-time residency?  No, the costs are not pro rated; the sewer provides waste collection, disposal, and treatment capability and peak capacity to any connected dwelling.

  - How will buildable but undeveloped properties be assessed?  OL WPCA discussed buildable undeveloped property (currently there are two such lots) during its meeting.  Our aim is to develop an appropriate benefit assessment based on current status and future building as they enjoy the benefit of the sewer utility.  One lot had a building on it that was assessed based on building size, which now that it is torn down, a new assessment for this property is needed.  Our intention is to assess benefits to buildable lots; it is fair to all Sound View residents to not allow some residents to get an unfair advantage by building after the sewer is installed.  Adjustments will then be made based on the capacity of such dwellings using the same formula.  Cost recovered will be distributed back to all Sound View residents proportionally.

- Cost Sharing Agreement (CSA) and Inter-Municipal Agreements (IMA)

  - What are Cost Sharing Agreement and Inter-Municipal Agreements?  The Chartered Beach Associations installing sewers have completed Inter-Municipal Agreements with neighboring towns and New London treatment facility that incorporates all the effluent volume needed by Old Lyme.  The Town is developing shared resource agreement (Cost Sharing Agreement) with Chartered Beach Associations as it benefits the town’s residents.  Joining and sharing resources will result in significant cost savings by paying for just part of the pump station and the common force main.

  - Is the cost sharing agreement a 1:1? Is it based on EDUs or percent ownership? The Cost Sharing Agreement with the Chartered Beach Associations is based on estimated volume to equal percentage of ownership for start-up costs, however, the processing costs is a unit fee based on the actual gross volume.  The Sound View project percent ownership is not yet agreed to.

  - Does the Town of Old Lyme have the necessary inter-municipal agreements with neighboring towns of East Lyme, Waterford and New London?  At the time of this writing, we have an informal agreement to join the Chartered Beach Associations in Old Lyme and to amend the East Lyme agreement for sewer processing.  The East Lyme agreement provides revenue for Waterford; however, Waterford would like to form a separate agreement to generate more revenue.  We plan to formalize the needed agreements after the standard legal and committee review.  The agreement with New London is on-going and will either amend the existing agreement or form a new agreement.

  - Is there extra capacity built into the sewer pipelines for the project?  The pump house and associated systems will be designed and built for the capacity it needs.  The inter-municipal agreements with neighboring towns have a maximum capacity of 300,000 gallons per day (GPD), the beach associations have established their capacity as 120,000 GPD, OL WPCA will claim an additional 50,000 GPD, and the reserve capacity is 130,000 GPD for potential additional communities.  The IMAs account for potential volume increases so that they do not have to be renegotiated often.  Each group will pay for its fair share of capacity; volume exceeding the original allocation will be charged proportionally to the generator based on the formula in the agreements.

- Design, Construction, Operations and Maintenance of the Sewer System

- What is the schedule for the sewer project?  With the approval of the referendum, WPCA has begun the design phase of the project and the finalization of Cost Sharing Agreement and Inter-Municipal Agreements necessary to transport effluent to New London.  WPCA anticipate the design phase will be completed in 2020; construction will begin in 2021 with expected completion in 2022.  [Note: The town of Old Lyme recently passed (61% to 39%) a referendum to sewer the project area in response to the state mandate.]

- What is the coordination between OL-WPCA and the Chartered Beach Associations?  Old Lyme will share common infrastructure with the Chartered Beach Associations, this requires the Town to join them via a Cost Sharing Agreement (CSA) to define the town’s cost share, roles and responsibilities.  The CSA is the prerequisite for the Town to join the Associations’ existing Inter-Municipal Agreements.

- How can the Chartered Beach Associations move ahead if the pump station is not ready?  The other beaches are building the pump station on their own with the ability to expand the capacity to handle the Sound View flows.

- We are installing pipes that have a life expectancy of about 30 years, but what about the age of the pipes we are hooking up to?  The pipes being connected are in good working order and monitored by the other towns for age and inspected regularly. Old Lyme’s IMA with the neighboring towns will have long term maintenance costs for sewer infrastructure built in to ensure reliable operations.

- Is this a gravity drain system?  Yes, the collected effluent is gravity drained to a pump station for conveyance via a forced main to the first pump station on East Lyme.

- Do we have to use one contract for the lateral connections?  No, the town's WPCA is investigating getting a group deal to lower cost for Sound Views residents, homeowners have the option to use any contractor for the lateral connection.

- What happens to existing septic systems?  They will be collapsed, filled in and abandoned.  The land can then be used for other purposes such as parking.

- Why not put the sewer piping in the alleys?  Since the approval of the referendum, the engineers have moved from concept to actual design and will optimize the waste water piping layout.

- Who will be our contact in the Town government when something goes wrong after the sewers are operational?  The Town of Old Lyme will be in charge of the Sound View sewer system, WPCA would likely be designated by the Town as the point of contact to address Operations and Maintenance (O&M) issues associated with town-owned equipment.  While the Town and the Chartered Beach Association are responsible for O&M of the sewer infrastructure under their cognizance, we are jointly responsible for the shared equipment.  We plan to contract a Service Order Organization to service the sewer system equipment to ensure compliance with the waste water parameters specified in the IMAs.

- Public Dissemination of Sewer Project Information

  - Where can the studies on the need for sewers be found and who paid for them? The studies are available through each WPCA and the State DEEP. The Old Lyme website (https://www.oldlyme-ct.gov/water-pollution-control-authority/pages/sewer-project) includes the town's summary Environmental Impact Evaluation (EIE) on line and a copy of the Waste Water Plan is available to view at the town hall (80 or so pages long with many multiple-page exhibits).  The Town paid for the study via a WPCA budget line item (25% of the cost was reimbursed by the Clean Water Fund).

  - Why was the petition to force the WPCA to have a question and answer session that signed by over 50 residents declined?  In consultation with the town attorney and the First Selectman's office, the petition does not legally require the WPCA to hold a special meeting regarding the sewer project.  The WPCA has made numerous efforts to explain this project and answer questions over the years.  For example, the WPCA manned a question and answer booth at one Midsummer Festival. We also hosted four public question and answer sessions where the residents asked, and we provided answers to many of the questions. One of these Q&A sessions was held at the Sound View Community Center. Lastly, there are materials readily available at the town Hall or on the Town's website (https://www.oldlyme-ct.gov/water-pollution-control-authority/pages/sewer-project) that may provide the answers you seek.  The materials include an extensive Coastal Waste Water Plan which is available at the town to review, due to its large file size and many multi-page foldouts.  The WPCA’s website contains the Environmental Impact Evaluation (EIE) which summarizes the Coastal Waste Water Plan, Frequently Asked Questions (FAQs), and Recent Question and Answer Session slides and more information about the WPCA and the sewer project. Given the amount of information already available to the public, the WPCA declines to hold another special meeting to address many of the same questions.  We plan to hold another special (public) meeting once the engineering design for the sewer project is complete. The WPCA will answer any additional questions in writing, and post and updated FAQ on our website

- Miscellaneous

  - What will happen if Hawks Nest is required to sewer?  If Hawk Nest is determined by CT-DEEP to require sewers, WPCA will develop a project plan, CT-DEEP will review the plan, approve it when all issues are settled with the stakeholders.  The Town will be required to bond for the project (after such a referendum is approved) to allow the design and construction to go forward.  The properties that benefit will be assessed for the cost of its sewer project.

  - What is the cost of sewers for Miami beach?  This is a question for Miami Beach Association.  All the sewer projects are similar but not the same as the chartered beaches levy benefit assessments on its members using their methods.

  - Town made changes to B100A code for people, the town made the ordinances so the town should have to fund the sewers.  This is an opinion and it is incorrect.  The Town’s Zoning board granted variances to non-conforming septic systems that represent best possible solutions given the constraints inherent to coastal properties that prevented these systems to be fully compliant with B100A.  The Town does not have the authority make any changes to B100A which is a state public health code.  CT-DEEP has determined that sewer is necessary, therefore, Zoning will no longer consider variances to B100A.

  - [Note: This question is irrelevant as the referendum has been approved]  If the referendum fails will the town see that it has to share the costs?  The general view is the town will accept properties that directly benefit from this to pay for this. A failed referendum is unlikely to change that view.

  - [Note: This question is irrelevant as the referendum has been approved]  What happens if the referendum fails? The reason(s) for failure will be evaluated and we will consider to try a new amended referendum addressing the concerns. It should be noted the new referendum will take time and there is a significant chance the project costs will increase and there is a chance our Clean Water Funds (25% on applicable project parts) may be eliminated making the project even more expensive.